# Modbus TCP Solaredge monitor

Date: 15-4-2021
Author: René Wenneke

## Inhoudsopgave

1. Preporation
2. First time installation
3. Configuration
  3.1 Hostname & port
  3.2 Username & password
  3.3 Inverter settings
  3.4 Domoticz
  3.5 Server script
4. Installation, the next step
5. Backup of configuration and data
6. For Developpers
1
## Preporation

First we must enable the modbus over tcp of the inverter. To get access in the hidden menu of the inverter we need to press and hold the ok-button for at least 5 seconds.

! The author is not responisible for any damage or lose settings on your inverter!

Press buttons Up (=1), Down (=2) and OK (=3) to enter the password to access the configuration-menu: ▲▼OK ▲▼OK ▲▼ (1 2 3 1 2 3 1 2). / Select Communication èLAN Conf è Modbus TCP (the default port is 502). / To modify the TCP port, select Modbus TCP è TCP Port, set the port number and long-press <Enter>. / It’s recomended to leave the port at 502 (default).

When done write down the IP adres of the inverter which you can retrieve cycling the status pages on the lcd screen.

Note: The hostname in my case is target.fritz.box .

2
## First time Iistallation

Power on the Modbus tcp monitor and press simultanisly the s1 button on the back of the module, a message on the lcd will appear "AP-Modus SSID:". In the next line you will see the SSID, probably "ModBusMon-AP", which we will connect with a tablet or smartphone. Just go to wifi settings on your mobile device, scan networks and select the SSID, no password needed. When connection is established open your browser on the mobile device and enter the url which is displayed on the lcd which will be probably "http://192.168.4.1/wifimanager". The module's wifi-manager will appear.

You will see a list of all available networks of the 2.4GHz band.

The esp8266 will not work on the 5Ghz band.

 When done with selecting your home network and credentials you can reset the module with the RST button or disconnect and reconnect the power cable.

If all goes well a IP adress will show briefly on the lcd display, if not press reset and retry. If still no succes after couple of restarts, try it again with re-entering wifi credentials in AP-modus.

Connect your mobile device to your preferred wifi network ssid if the device didn't already.

Open in the browser the given ip adress and you will be prompted for a login.

The default credentials for usenname is admin and the password is esp8266.

3
## Configuration

Select settings.

### 3.1 Hostname & port

In the hostname field you can enter a friendly name like "mysolaredge", the next time after reset you can use http://mysolaredge .

The portname filed is in current version not changeable.

### 3.2 Username & password

You can change the login credentials in the User and Password field.

When you close the browser, you will be automaticly signed off. Authentification will be managed by a session cookie which will be deleted when closing the browser.

### 3.3 Inverter settings

In the Modbus IP field you enter the ip-adres of the inverter.

In the Modbus Port field enter the port number of the modbus protocol of hte inverter.

You should see values on de lcd screen when the inverter is in production time. If the status of the inverter is in sleep mode the interval will be 60 seconds. In on mode, the interval should every 5 seconds.

In the Peakpower field enter the value of the maximum capacity of all your solar panels.
This value will be the maximum range of the circular power meter and in the graphic. I recommend because the horizontal scale has 6 layers (7 lines starting with 0), you choose a number that can be divided by 7 (see screenshot 1).

In the settings of your inverter you will see that the inverter is sometimes limited lower as the total panel-capacity, this is a safety-precaution and has almost zero effect on overall power.

### 3.4 Domoticz server

In the lower Hostname or IP, Port and IDX field, you can enter information if you have a Domoticz server in your lan. If not leave the fields blank.

### 3.5 Server script url

See the section "For developers".

Screenshot. 1
4
## Installation the next step

The Solaredge Modbus monitor receives information from the inverter like lifetimes produced energe (watt), current, heatsink temperature etc. However there is no data in the Sunspec protocol which tells the production of last day, month of year.

So in case of a new installation or factory reset, the Solaredge Modbus monitor sets the first time these values at 0. If the case the inverter is installed the first day it's no problem. But if the inverter is running for some time, we will need to adjust the values.

In the configurations menu you will see a link backup memory.json click it and select download.

Open it with notepad.exe (do not use Word) and you will see 3 values something like this:

{ "beginofday":"16275646" , "beginofmonth":"16159489" , "beginofyear":"15552331" }

The values represents the value of the total production value at midnight of the description.
If the installation of the inverter is in the same year or month the value of 0 will be ok.

But if the inverter is running for some time you have to figure out what lifetime value was on last new year's eve and last first day of the month at midnight by analyzing the cloud data of your inverters manufacterer.

But if you are in the last day of the month, you could wait until next month then the system will correct the first two data (beginofday and beginofmonth), for beginofyear you have to wait until next new year's eve.

However if you can re-calculate the lifetime values of the last corresponding data, you can altered it in memory.json save it and upload it again (choose file) and upload in the config section.

The JSON format is very strict, alter the memory.json very carefully by just replacing the numbers between the "". You can check it before upload by opening it with a browser.

The system will update this internal file each midnight (lcd will blanked out for few seconds) and update those values to the current lifetime production value except the beginofmonthe only of the 1st each month and the begonofyear at new year's eve..

It's wise to back up this memory.json also on monthly bases and store it on your pc in case of a factory reset or malfunction. This will als means for config.json (settings) and memory2.json which show your historic data in the graphic.

 Screenshot2
 Exampe of Domoticz report.

Screenshot 3

If you make a alert (screenshot 3) you will be notified by email when somethings wrong with the Solaredge modbus monitor.
5
## Backup configuration & data

The Solaredge Modbus monitor has a built-in filesystem containg configuration data of your inverter and historical data.

In the settings page you will find a upload field for restoring files or when faulty data had to been altered in case of a malfunction (see Chapter 4).

Because most of the files are in json format you have to be very carefull when altering these files and have some knowledge about json or at least know what you are doing.

Json files can be opened by modern browsers and when there is a syntax error, the browser will indicate these error(s).

Allthough there are some json editors we do not recommend these, because they are not tested in combination with these code. We suggest to use a simple notepad.exe like editor. That means no Word of Wordpad.exe!

In the bottom list of the settings page you will see a overview of the filesystem. We recommend to backup the memory.json, memory2.json and the config.json on a regurly basis. There is a delete link at the right side in a form of a 'X' of each file. Be carefully with this unless you know what you're doing. Removing all the files is equivalent to a factory-reset.

The system.log file can be removed. When it will be removed, the system immeditaly make a blank new log file. It's recommended to remove the system.log when the size of the file becomes excessive.

6
## For Developers

The Solaredge Modbus monitor internal webserver generates some data in json and or xml format for developers.

The current data are generated by http://<ip-adres>/data.json and http://<ip-adres>/data.xml which gives the current ammount of power, today's, this month's, year and lifetime power, the heatsink temperature and the status of the inverter.

The historical data are generated by http://<ip-adres>/solardata.json which gives the data of the power during the day chunked in pieces of 5 minutes of interval, all the data of each day of the current month, all the data of each month of the current year and all the data of the years since 2018.

These data.json page will also requested by the root homepage of the Sms every 5 seconds and the solardata.json will also requested by the root homepage every 15 minutes with the method calles "Ajax", that means data will be refreshed without refreshing the homepage.

There is also a http://<ip-adres>/data.htm which generate a output like current=2629&day=12097&month=315&year=559&lifetime=16112327 but probably this page could deprecated in the future, so we recommend to use the data.json instead.

In the script field of the configuration page you can enter the path to a webserver-script like PHP or ASP. If this is correct the Sms will be requesting every dat at 23.00 to this script with additional format added to the url:

http://<ip-adres>?date=1616886000&current=0&day=12097&month=31&year=559&lifetime=16112327

The purpose is for developers to retrieve this information from the url and use this data for the needs of the consumer or company. Storing this data, depending of the webserver-os could be a files on the filesystem or a database like MySQL. Just paste the line above beginning with the question mark to the end after the url of the script file when testing.